## Sheet1
ITEM# | PART# | SF DESCRIPTION
125904 | 125CR-1035 | 3/8" x 4" x 3' 1/2" cable rack
125832 | 125CR-1047 | 3/8" x 2-1/2' x 3' 2" bent cable rack
125465 | 125CR-1135 | 3/8" x 1-3/4" x 3' .23" CABLE RACK
| A4454 | 5" X 5" X 5' 4" CROSSARM
| A4486 | 5" X 5" 8' 6" LG CROSSARM
439758 | A4501-R | ARM; TYPE: WIDE FLANGE STEEL; SIZE: W6" X 32'-6" WEIGHS APPROX. 25 LBS PER FOOT
439767 | A4505 | 10" x 10" x 3/8" x 40' tubular crossarm
110828 | A4512 | SPAR ARM, WIDE FLANGED I BEAM, W6" x 6" X 30'
110829 | A4514 | ARM-SWITCH SUPPORT, WIDE FLANGE I BEAM: 6" X 6" X 30'
110830 | A4516 | 6" x 4" x 1/4" x 25' CROSSMAN
1004600 | A4517 | 6" X 6" X 43' SPAR ARM
CBK916T | A4565 | W6 x 20 x 35'6" Ibeam Crossarm for "H" frame
CBK-917Q | A4580 | W8X28# x 35' 6" long steel crossarm type "B"
BKL689V | A4585 | W8 x 21 FT GRADE 50 # I-Beam assembly
110838 | A4750 | 6 x 4 x 11' Angular Crossarm with End Plates
439764 | A4760 | 10 x 10 x 3/8" x 32'6" tubular galvanized steel crossarm
1366319 | SF-387723 | 12 x 12 x 1/4" x 44'6" tubular crossarm
425318 | A4770 | 10" X 10" X 3/8" x 34' SQ. TUBE CROSSARM
1287295 | A4780 | Arm: Tubular Steel-10" x 10" x 3/8" x 40'
407033 | A4810 | Savannah Crossarm, 3 x 5 x 78" angular crossarm with end plates and reinforced midpoint.
425196 | A4830 | CROSSARM: DEADEND ARM 2" x 5" x 3/16" x 60"
432341 | A4835 | CROSSARM: DEADEND ARM 2" x 5" x 3/16" x 80"
CKH260Q | A4910 | 10 x 8 x 1/2" x 35' 2" Crossarm for 2 pole deadend structure
141511008 | A4986 | 4 x 4 x 96" Galvanized Steel Alley Arm
| A5396 | 5 X 3 X 3/8"X96 ANGULAR CROSSARM
| A5398 | 5 X 3 X 3/8"X120 ANGULAR CROSSARM
CBK-918N | A6910 | 5 X 3 X 5/16" X 20'-11-1/2" ANGULAR CROSSARM
CBK920F | A6920 | 6 x 3-1/2" x 3/8" x 20'-11-1/2" Angular Crossarm
CBK-923X | A6930 | 5 x 3 x 5/16" x 13'-5-1/2" Angular Crossarm
CBK-925R | A6940 | 6 x 3-1/2" x 3/8" x 13'-5-1/2" Angular Crossarm
CQW-232T | A6960 | 4 x 4 x 1/4" x 13'-5-1/2" Tubular Crossarm
CVA-357G | A6970 | 7 x 3 x 3/4" x 23'-5-1/2" Angular Crossarm
39140 | APOAB | COME 1/2" BRACKET PH MOUNTING CONSTRUCTION. ARRESTER BRACKET 1 LIGHTNING FLANGED FOR MOUNTING, LFOR MOUNTING ON 1 PH RECLOSER. BRACKET TO COME WITH 1/2 x 2" captive carriage bolt, shakeproof SHAKEPROOF WASHER, LOCKWASHER, AND HEX NUT; ALL HOT-DIPPED GALVANIZED" X 2" CAPTIVE CARRIAGE BOLT, SHAKEPROOF TO COME WITH 1/2" X 2" CAPTIVE CARRIAGE BOLT, SHAKEPROOF WASHER, LOCKWASHER, AND HEX NUT
110968 | B1395 | BAYONET-OHGW, GALVINIZED STEEL CHANNEL, 6 INCH X 10 FOOT 15.3 POUNDS PER FOOT
| B9014 | 1/4 x 2" x 15" Bent Crosspiece
408729 | B9110 | Manhole Cable Rack 3/8" x 1-3/4 x 14.5"
| B9120 | Manhole Cable Rack 3/8" x 3/4 x 29.75"
| B9130 | Manhole Cable Rack 3/8" x 1 3/4" x 38.75"
125514 | B9140 | Manhole Cable Rack 3/8" x 1 3/4" x 48.75"
440246 | B9248 | Warning Sign Brackets,
111140 | B9255 | 1/4" x 2" x 5.75" BRACKETT FOR MOUNTING ARRESTER ON PKR SWITCHES
406672 | B9260 | SINGLE ARRESTER SMALL TEE BRACKETS AND CUTOUT MOUNTING; GALVANIZED STEEL
406743 | B9280R | TRI MOUNT BRACKET SWITCH AND ARRESTER
| B9285 | FPL Pothead Mounting Bracket
1839083 | B9285 | POTHEAD MOUNTING BRACKET WITH COPPER ADAPTER
111143 | B9290 | Bmlet Arrester, Cutoutper
111144 | B9295 | 5 x 3 x 3/8" x 20" clip angle
111145 | B9297 | 5 x 5 x 3/8 x 4" CLIP ANGLE
111146 | B9299 | 3/8" X 4X 20" ALUMINUM BRACKET ADAPTER W/ PARALEL ARRESTER BRACKET
111152 | B9360 | 1/2" X 4X16" BENT "BUZZARD WINGS" FOR TRANSFORMER CLUSTER MOUNT.
438750 | B9435 | 5 degree stand off bracket
111162 | B9506 | NAME TAG BRACKET FOR MOUNTING METER SOCKET TO POLE
43-6749-99995 | B9510 | Large Shelf Bracket for 25KV, galvanized steel
111164 | B9513 | BRACKET; TYPE: ARM; MATERIAL: STEEL; CONSTRUCTION: FOR ARRESTER MOUNTING
| B9514 | SMALL SHELF BRACKET FOR 25V, GALV. STEEL
111166 | B9515 | 3/8" X 1-1/2" X 15" BENT FLATBAR W/ BOLT
432338 | B9530 | HEAVY DUTY ANGULAR TRI-MOUNT ARRESTER AND POTHEAD MOUNTING BRACKET FOR MOUNTING 1000 KCM CABLE SUPPORT.
BXY663W | BXY663W/LC-68015 | CROSSARM,STEEL, QA 0; 2'-11"
BYH480D | FP-A37 | Full Pen Backing Plate for 2'11" Davit arm
3771 | CABTS | 3/8"X1-1/2"X12" BOLTED L BRACKET FOR 1 CUTOUT AND 2 ARRESTORS FOR 15-35KV
CYH809H | CB4425 | 4 x 4 x 1/4 x 25'-3" Cross-Brace SETS of (2)
DAG910C | CB5529 | 5 x 5 x 5/16" x 29'-2-1/2 cross brace, ordered as set of 2
CWE288E | HS-HS2 | QA 0, HS FLANGED SH GALVANIZED, Q0, HS2, GALVANIZED STEEL; FOR 161-KV H-FRAME CROSSARM, B/M for B/M "J" , C/O 4 STOOLS, WT" FOR 161
CYD435L | D1046 | CROSSARM,STEEL, QA 0, POLE, 4 FT 6 IN, 94 LBS, GALVANIZED STEEL; ISSUED OUT OF STOCK (1) EA TO BE BUNDLED AND SHIPPED IN SETS OF (3)
CWG769K | D10-A49 | 6 x 3 x 3'6" Crossarm
662711-08816 | D5764 | 36" galvanized steel bent bowtie bracket
40800000 | ESI-6-W | 5" x 5" x 1/4" x 8' Weathered Steel Crossarm
39408 | FPU-8 | 8' Steel Deadend Crossarm 5" x 5" x 8' sq. tubing
| FPU-A18 | 18' Steel Deadend Crossarm 5" x 3" x 1/4" x 18' angular crossarm
BXX191H, | HC-67977 | 9'6" Davit arm, shipped in bundles of 3,
BXY097T | HC-68037 | CROSSARM,STEEL, QA 0; 62 LBS, 4'-0" GROUND WIRE CROSSARM
CYQ482J | HS-C1 | 1/4" x 7" x 8" x 8" Crossarm support bracket
123391 | SF-LD391 | 9'1-1/2"long ladder with 16" rung WALL LADDER
123392 | LD392-12 | 12' long ladder with 16" rung
123392 | LD392-13 | 13'-1/5"' long ladder with 16" rung
123392 | LD392-20 | 20'-1.5" long ladder with 16" rung
1357305 | LD392-DF | DEFLECTOR PLATE SAFETY EQUIPMENT. HATCH MOUNT FOR NETWORK VAULT SIZE 22" LONG X 31" WIDE X 1/8" THICK MATERIAL STEEL HOT DIP GALVENIZED
40755000 | LSK-1116 | 4" X 6" X 9'-4" galvenized steel crossarm
40809000 | LSK-1116-W | 6" x 4" x 1/4" x 9-'4" Weathered Steel Crossarm
40754000 | LSK-1254 | 4" X 4" X 9'-4" GALVANIZED TUBULAR STEEL
40801000 | LSK-1254-W | 4" X 4" X 9'-4" crossarm weathered tubular steel
BJG296A | MC-63355-B2 | L 4 IN X 3-1/2 IN X 3/8 IN X 9 FT 5-1/4 IN, Anglular Crossarm 89 LBS, GALVANIZED STEEL
BJG300T | MC-63355-B3 | Suspension Plate, 3/8" x 4 x 11-1/4"
BJG301D | MC-63355-B4/B5 | 2 FT 7.625 IN X 1-3/4 IN X 1-3/4 IN X 3/16 IN
MC-6355-B2 | MC-6355-B2 | Manhole hatch cover 5' x MC' with Type B2 liner plate solid - DOES NOT INCLUDE CONCRETE RE-BAR OR BRASS HATCH PLUGS
381833 | (U-MP-MP) SES-PD-063 | Meter pedestal 4x4x96" TO TOP OF BURY TO LINE STICKER
123373 | NWS 3.71 | Manhole size grating frame for low nominal grating for network vault in sidewalk
1000056 | NWS-3.47-A | Manhole hatch cover 5' x 10' with Type A liner plate solid - DOES NOT INCLUDE CONCRETE RE-BAR OR BRASS HATCH PLUGS
1000057 | NWS-3.47-B | Manhole hatch cover 5' x 10' with Type B liner plate - COVER DOES NOT INCLUDE CONCRETE R REBAR, ROUND LID AND FRAME
123385 | NWS-3.40 | Manhole - Roof Framing Steel; Width 7' to 10'; Steel, with Primer Coating; for Network Transformer Vault
123386 | NWS-3.42 | MANHOLE HATCH FRAME, 5' X 10' INSIDE OPENING, FOR NETWORK TRANSFORMER VAULT;MATERIAL:STEEL, HDG;CONSTRUCTION:WITHOUT SPACER
123389 | NWS-3.52 | 6x6x3/8 Angular Hatch Frame 6' x 10'
123374 | NWS-3.72 | Manhole size grating frame for low nominal 21" x 32" x 1.75" gratings for network vault in sidewalk
436406 | P13000 | BURN SHIELD FOR TCC WOOD POLES 59-1/2" X 23-1/2"
SF-460-SPECIAL | P460 | GALVANIZED 5 CHANNEL LONG DRILLED FOR METER BASE
| P975 | 4" channel Meter Pedestal
435651 | P976 | 6" x 8' channel meter pedastal galvanized
88009 | S1216 | Nylon Tipped Bracket for use with temporary arm
1348842 | S20230 | 5" Channel Switch Adapters with Clip Angle and bolts
427703 | S6000 | GROUNDING PLATE. FOR SWITCH OPERATOR 2" X 3'-2" X 3' 2"
439762 | S6447 | BOLT, U; SIZE: 0.75" DIA. X 5.75" O.L. X 2.25" I.W.; Assembled with nuts and boxed 15 per box.
CPJ253C | S6500 | 3/8 x 48" x 72" Diamond Tread Grounding Plate with runners
128910 | S6587 | DWG clip angle size 3" x 2" x 8-1/2" (holes should be drilled with 13/16" holes
439761 | S6591 | DEAD END PLATE FOR STEEL WIDE FLANGE ARM; SIZE: 4 IN X 0.5 IN X 1 FT O IN
436894 | (MP-MP) SESPD142 | 3/8" x 1-3/4" x 15-1/2" galvanized cutout with bolts
439934 | SESPD158 | 3/8" x 1-1/2" x 9" "L" BRACKETT; CUTOUT AND ARRESTER
381448 | SESPD169/A4744 | SQUARE TUBULAR SIZE 4"X4" X 20' LONG 1/4" THICK GALV. STEEL
111181 | SF-0AB/GP-0AB | 3/16" x 1-1/2" x 3" Lightening arrester bracket
1001060001 | SF-10203R2 | 4" x 6" x 25' x 1/4" galvenized crossarm
3766 | SF-11R | Large antenna mounting bracket
54027 | SF12 | BRACKET FOR USE WITH MOUNTING ARRESTER AND CUTOUT 23KV AND 35KV CLASS SYSTEMS
| SF-12L | Single phase 25KV arrester/cutout T-bracket
432342 | SF-15 | TRI-MOUNT ARRESTER AND CUTOUT MOUNTING; GALV STEEL FOR 25-35KV SYSTEMS, 3 PHASE, MOUNTS 3 CUTOUTS AND 3 ARRESTERS PER POLE
406721 | SF-16 | Tri-mount bracket, trimount, arrester and cutout, galvanized steel, mounts 3 cutout and 3 arresters to pole
3770 | SF-24 | Winged Cutout(1) and arrester (2) bracket, 10-27KV to be used on 15-35LV systems
3767 | SF-3767 | Small Antenna Mounting Bracket
3774 | SF-3P | Tri-Mount Bracket; Galv. Steel; to be used on 15-35KV Systems; for mounting three cutouts and six arresters
1060025 | SF-50146 | Truss assembly, TM-230A steel crossarm
1001060010 | SF-50252 | Crossarm assembley, double steel truss mountied frame for 3-pole disconnect swim
434566 | SF-55303 | SINGLE ARRESTER AND CUTOUT MOUNTING; MATERIAL: GALV STL;
128918 | SF-6780/S6780 | 1/2" x 1-3/4" x 13-3/4" SPAR ARM LINK EXTENSION GALVANIZED AFTER FABRICATION
CWF144M | SF-A3-494-15B | 8 feet Crossarm assy, tower, QA 0, 201, pole structure ordered individually,PACKAGED IN SETS OF 3
AQJ147K | SF-MC-58407 | Manhole hatch cover 5' x AQ' with Type 58407 liner plate solid - DOES NOT INCLUDE CONCRETE RE-BAR OR BRASS HATCH PLUGS
AKR145J | MC-44175 | 3" x 7.5" x 7.5" Sq. Counter Weights with champher and counter-sink
CVV036A | BP-036A | WASHER,LINE HARDWARE, QA 0, SQUARE, GALVANIZED STEEL; SPECIAL 3 IN SQ X 1/2 THICK WITH 13/16 IN HOLE
AKR144L | BP-144L | 3/16" x 2-1/4" galv. sq. washer w/ 13/16" hole
CVV303H | BP-303H | 1/2 x 3" SQ. Washer w/ 15/18" hole
CYE332R | BP-332R | BREAKING PLAE 4' X 6" FOR USE WITH 4" X 6" CROSSARM ; 4" X 1' 3-1/2 IN X 5/8 THICK PLATE
CXY432L | BP-432L | 4" X 1' 9 1/2" 1/2" LONG BACKING PLATE WITH 2 HOLES AND 1 SLOT.
APR432N | BP-432N | 5/8" x 1.25" Hex Head Galv. Steel Tower Bolt type A394
CVL521A | BP-521A | 1/2" x 3" sq. washer w/ 1-1/8" hole
CWE563J | BP-563J | GROUND WIRE CROSSARM FOR GALV. STEEL POLE 8 FT.
CGE665L | BP-655L | 1/4" x 1-1/2" washer w/ 13/16" hole
AKR944K | BP-944K | 1/2" x 4" galv. sq. Washer w/ 1-1/8" hole
CVL948B | BP-948B | 5/8 X 5 X 5" WASHER W/ 1-1/2" HOLE
CXR-477C | YP-A30 | Manhole hatch cover 5' x CX' with Type A30 liner plate solid - DOES NOT INCLUDE CONCRETE RE-BAR OR BRASS HATCH PLUGS
CXR-476E | YP-A40 | Yoke plate 5/8" galvanized steel triangular shape
CXK775E | YP-A60 | 6" x 15" x 3/4" Triangular Yoke/TD Plate
658000 | U3092 | 6" x 4" x 4' 6" steel crossarm Davit with bird guards
12222 | U-AA | Gimble pads - 2-1/2" Acme x 6"
7500 | U-AB | Gimble pads 2" Acme x 9"
66697 | U-AC | Gimble pads 2-1/2" Acme x 4'
68754 | U-AD | Gimble pads 2-1/2" x 14"
433733 | W1520 | GALVANIZED WASHER-PARALLEL GROOVE GROUND CLAMP 2"W x 2-1/4" LG w/ 15/16" hole
AXH463F | A6830 | 3-1/2" x 3" x 1/4" x 20'11-1/2" Angular Crossarm
CNX464C | CB8637 | 8 x 6 x 3/16" x 37' 9-1/4" Welded Crossbrace Assembly. 1 set is 2 pieces w/ hardware
AXH465B | A6850 | 3-1/2" x 3" x 1/4" x 15-11-1/2" Angular crossarm
CPJ251G | S6400 | 3/8 x 42" x 60" Diamond Tread Grounding Plate with runners
CBP424V | HS-A1 | L8 x 6 x 1/2" x 8" Angular Crossarm support bracket, 1 set of 2 pieces
123399 | M-1500 | Map Holder, For Padmount Transformer
SF-A4500 | A4500 | 26' STEEL CROSS ARM
1001060011 | S24189 | CROSSARM , STEEL TUBING, 5" X 7" X 3/16" X 26'6", DOUBLE FOR MOUNTING SWITCHES
406839 | MB-1010 | CLUSTER MOUNT INSTRUMENT TRANSFORMER CLUSTER W/ DURHAM BOXES MOUNTED.
AXH250C | SC-49849 | CABLE/INSULAOR CONNECTING PLATE FOR 161KV 2 CONDUCTOR BUNDLE
DAR565X | SC-204404 | Plate, Strain
BYN071G | HC-67986 | Crossarm Steel, for ground wire, 230-KV Steel Pole Structure Assembly
110835 | H-FRAME | GALVANIZED-GUYED STEEL H-FRAME, 12 INCH TANGENT
124900 | P2943/U-GP-PLUGS | PLUG; TYPE: TRANSFORMER PRIMARY BUSHING TERMINAL HOLE; CONSTRUCTION: INSTALL IN PLACE OF BUSHINGS OR TERMINALS TO FACILITATE TRANSPORTATION
128911 | S6589 | ARM;TYPE:SPAR, CLIP ANGLE, A572; SIZE: 3"X 3" X 1/4 X 9-1/2"; MATERIAL: GR 50 GALV; CONSTRUCTION: FOR USE ON 230KV CONCRETE H-FRAME.
CEM679H | CEM679H | PLATE, STRAIN, QA 0, F20 GW
432339 | B9440 | BRACKET-INSULATOR, TWO POST
113293 | U-GP-BULLET | FIBER OPTIC-SPLICE, BULLET PROOF, 10 INCH DIAMETER X 3 FOOT
123593 | U-GP-MB-1000 | METER DEPARTMENT BRACKET. TO BE USED WITH SECONDARY VOLTAGE TRANSFORMERS. DESIGNED TO HOLD UP TO THREE UNITS. WILL WORK WITH ANY NORMAL DONUT STYLE, EITHER MIN. OR REG. AND WITH ANY PT. MADE OF ALUMINIUM WITH ADJUSTMENT SLOTES AND WING NUTS. CAN BE USED HORIZONTALLY OR AT A NEAR VERTAL POSITION ON MAST BELOW WEATHER HEAD.
1001060005 | SF-10204 | Crossarm, Galvanized tube steel, size 4" x 6" x 25'6" x 1/4", 9-eyes
1001060008 | SF-10226 | CROSSARM, GALVANIZED TUBULAR STEEL, SIZE 4" X 6" X 21'6" X 1/4", FOR TYPE TH-2 STRUCTURES WITH 10'6" POLE SPACING AEC
442627 | B9245 | BRACKET;TYPE: MOUNTING; MATERIAL: ALUMINUM, GRADE 6061-T6; CONSTRUCTION: FOR 46KV PT POWER SUPPLY.
CR-125-1023 | CR125-1023 | BRACKET-3/8" X 4" STEEL BAR. 5-3 LONG
CWG768M | D10-A48 | 8 1/2" X 1' X 5" CROSSARM
BJG294E | MC-63350 | GALVANIZED STEEL BEAM, 25.7 FT LONG, WITH PLATES 8" WIDE X 9.75 IN LONG X 0.375 IN THICK FOR 69 KV WOODPOLE H-FRAME
125903 | CR125-1034 | 3/8" X 2-1/2" STEEL BAR, 3'-1-1/2"L. CABLE RACK BRACKET FOR 2000 KCMIL STR PRO BUS
DAY193F | BP-193F/SC-202745 | PLATE, CROSSARM/TD, QA 0,BACKING PLATE, 9FT 6IN.
| YP-WIL | 285 010 572 GR 50 PL 1/2X10.5 BURN HOLES AND SHAPE
CYA182J | D10-A50 | CROSSARM, STEEL, QA 0, POLE, 54 LBS, GALVANIZED STEEL
1387770 | NUS 3.32 | MANHOLE; SIZE: ROOF FRAMING STEEL FOR 6 X 11 HATCHES END-ON-END; WIDTH 7FT TO 10FT; MATERIAL: STEEL WITH PRIMER COATING; CONSTRUCTION: FOR NETWORK TRANSFORMER VAULT
1388001 | NUS 3.33 | MANHOLE; SIZE: ROOF FRAMING STEEL FOR 6 X 11 HATCHES SIDE-BY-SIDE; STEEL WITH PRIMER COATING; CONSTRICTION: FOR NETWORK TRANSFORMER VAULT
CPK765B | D10-A47 | A47, 1'-0 CONDUCTOR CROSSARM FOR STEEL POLE, RECEIVED AND ISSUED OUT OF STOCK (1) EA; WT.= 64LBS; BUNDLE AND SHIP IN QUANTITES OF 3
CFL461C | HC-116284 | CROSSARM, STEEL, QA 0, TUBULAR, H-FRAME STRUCTURE, 25 FT 6 IN
B-8-1 | B-8-1 | FOUNDATION ADAPTER FRAME FOR SIEMENS 15KV BREAKER TO EXISTING FOUNDATION 4' X 3'
B-5-1 | B-5-1 | FOUNDATION ADAPTER BEAM SET FOR SIEMENS SDV7-SE 15.5KV 1200A BREAKER TO EXISTING FOUNDATION CDS-2244. BEAM ADAPTER SET TO BE (2) W8 X 31 X 3'-3" (MK.B1) WITH (4) H. NUT AND FLT. WASHER FOR 3/4" 0 ANCHOR BOLT W/(4) HEX HD BOLTS 3/4" 0 X 2 LG W/ (1) H.NUT & (1) FLT.WSH.EA.
1426519 | LD392-104 | LADDER: TYPE FIXED, HATCH MOUNT, FOR NETWORK TRANSFORMER VAULT; SIZE: 15 FOOT; MATERIAL STEEL, HOT DIPPED GALVANIZED; CONSTRUCTION
1426520 | LD392-105 | LADDER; TYPE FIXED, HATCH MOUNT, FOR NETWORK TRANSFORMER VAULT; SIZE: 20 FOOT LENGTH; MATERIAL STEEL, HOT DIPPED GALVANIZED; CONSTRUCTION
C-24-1 | C-24-1 | 14' - 8" (1-HSS 10 X 10 X 1/4 X 14'-6 1/8") ZG-HSS COLUMN TO INCLUDE 1C1, (2)MA, PA,PB, PF & (8)PG